SOLVED EXAMPLES: XRD

Q) A XRD experiment was performed with Cu k( radiation, using a diffractometer. The first (& only) Bragg reflection was observed at  (crystal with FCC lattice). What are the indices of this reflection and the interplanar spacing that it corresponds to? What is the next reflection observed?

A) Radiation with λ(Cu k() = 1.54Ǻ, only one reflection observed from a FCC material when

, , n = 1 (chosen in XRD)

# , d111 =0.8846

For a crystal with FCC lattice the first reflection is from the {111} planes

# ( a = 1.53 Å

Rule for refection to occur in FCC:  (h k l) unmixed. The next reflection is expected from the {200} planes.

,

# Which is not possible ( the next higher reflection (from {200} planes) is not observed.

Q) A XRD experiment was performed with Cu k( radiation, using a diffractometer on a Cu-Ni alloy (FCC solid solution); the first Bragg reflection was observed at . What is the composition of the alloy?

A) Given: λ =1.54 Ǻ, , FCC alloy, Cu-Ni form a isomorphous phase diagram (soluble in the solid state in all proportions)

Assumption: linear interpolation to get the lattice parameter of the alloy is possible.

From the periodic table at the end of the book: aCu = 3.61 Å, aNi = 3.52 Å.

The lattice parameter of the alloy, where x is the atomic percent of Cu:

am = 3.61x + 3.52(1(x)									         (e1)

, ,

# Substituting in (e1) we get x = 26 atom% ( the composition is approximately Cu26Ni74.

Q) A XRD experiment was performed with Cr k( radiation, using a diffractometer on a cubic crystal; only two Bragg reflections are observed at . What is the crystal structure and the lattice parameter? Show that these are the only two reflections possible.

A) Given: only two reflections are observed on a powder pattern of a cubic crystal at ( = 34.06( and 65.51(. Cr K( radiation is used with λ = 2.29 Ǻ.

Using Bragg’s law:  and the d spacing formula for a cubic crystal

it is seen that  ( ratios of Sin2( are proportional to ratios of .

| Reflection | ( | Sin2( | Ratio |  | Planes |
| --- | --- | --- | --- | --- | --- |
| 1 |  | 0.3136 | 3 | ( DC structure | {111} |
| 2 |  | 0.8281 | 8 |  | {220} |

From the ratios in column 4 of the table it can be concluded that the structure is diamond cubic.

From the selection rules of the diamond cubic structure it is seen that the first two reflections are from {111} and {220} planes.

,  (

The selection rule implies that third reflection if present will be from the {311} planes.

,  (as Sin( cannot be greater than 1)

Which is not possible ( the next higher reflection (from {311} planes) is not observed.

Q) A XRD experiment was performed with Cu k( radiation, using a diffractometer on a FCC crystal with lattice parameter = 3.61Ǻ. What are the Miller indices of the planes with lowest and highest Bragg angles?

# A) Given: FCC crystal, a =3.61Ǻ, Wavelength of X-rays- λ =1.54Ǻ

As this is the FCC crystal the planes with lowest Bragg angle are the {111} planes.

# Using Bragg’s law:  and noting that n = 1 and

For a cubic crystal  (  ( dmin ( (Sin()max = 1. The highest possible Bragg angle corresponds to the highest value of Sin(; which should be as close to 1 as possible.

Substituting the value of ( and Sin( = 1 in Bragg’s law: 
 (  (

The plane should be now chosen keeping in view the selection rules for an FCC crystal such that .

| h | k | l |  |  |
| --- | --- | --- | --- | --- |
| 4 | 0 | 0 | 16 |  |
| 3 | 3 | 1 | 19 |  |
| 4 | 2 | 0 | 20 | ( |
| 4 | 2 | 2 | 24 | Not allowed |

Q) The first reflection from SiC is found at an angle of 17.2(. What is the Bragg angle for the second reflection. Clue: SiC has a FCC lattice which gives some weak reflections XRD pattern.

A) Given:

The ratio of h2 + k2 + l2 for the DC structure are:

A comparison of the reflections between FCC and DC structures is:

|  | (111) | (200) | (220) | (311) | (222) | (400) | (331) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FCC | ( | ( | ( | ( | ( | ( | ( |
| DC | ( | ( | ( | ( | ( | ( | ( |
| FCC (SiC) | ( | ( (weak) | ( | ( | ( (weak) | ( | ( |

But the structure of SiC is FCC lattice with motif consisting of two atoms: Si at (0,0,0) and C at (1/4,1/4,1/4). If the atom occupying the two positions were the same then the structure would be DC and reflections from planes like (200) and (222) would not be observed. In the case of SiC the cancellation of these reflections (i.e (200), (222) etc.) is not complete as the scattering factor of these atoms is not equal and hence the reflection observed is weak. 
Comment: The SiC structure is a superlattice structure which can be understood in terms of two interpenetrating FCC lattices ( one with origin at (0,0,0) and other with origin at (1/4,1/4,1/4). Hence, the weak reflections are called superlattice reflections.

Using Bragg’s law: ,

(  (